## Slide 1: Impact analysis through SCG

## Slide 2: Attacker Objectives
S.No | Objective
1 | Disturb Chemical Dosing
2 | Increase or Decrease Conductivity in Water
3 | Increase or Decrease pH level in Water
4 | Increase or Decrease ORP(Oxidation Reduction Potential) level in Water

## Slide 3: SCG for P2 stage of SWaT

## Slide 4: Impact of cyber attacks on stage-2 using SCG
Compromised sensor | Effects on Actuators through SCG | Impact of the attack
FIT201 (Stage 2 attack) | Stage 2:P201,P203,P205 (three Dosing pumps) | Disturb Chemical Dosing
AIT201 (Stage 2 attack) | Stage 2:P201;(NaCl dosing pump) | Increase or Decrease Conductivity in Water
AIT202 (Stage 2 attack) | Stage 2:P203; ( HCl dosing pump) Stage 2:P601; | Increase or Decrease pH level in Water
AIT203 (Stage 2 attack) | Stage 5:P205;(NaOCl dosing pump) | Increase or Decrease ORP(Oxidation Reduction Potential) level in Water

## Slide 5: Impact of Attacks on Real System
Compromised sensor | Effects on Actuators through SCG | Impact of the attack
FIT201 (Stage 2 attack) | Stage 2:P201,P203,P205 (three Dosing pumps) | Disturb Chemical Dosing
AIT201 (Stage 2 attack) | Stage 2:P201; | Increase or Decrease Conductivity in Water
AIT202 (Stage 2 attack) | Stage 2:P203; Stage 2:P601; | Increase or Decrease pH level in Water
AIT203 (Stage 2 attack) | Stage 5:P205; | Increase or Decrease ORP(Oxidation Reduction Potential) level in Water

## Slide 6: Attack on FIT201, conductivity plot(AIT201)
Chart: 

## Slide 7: Attack on FIT201, pH plot(AIT202)
Chart: 

## Slide 8: Attack on FIT201, ORP plot (AIT203)
Chart: 

## Slide 9: Attack on AIT201, set to HH(Conductivity sensor): Conductivity plot
Chart: 

## Slide 10: Attack on AIT202, set to 6(pH sensor): pH plot
Chart: 

## Slide 11: Attack on AIT203, set to 600mV(ORP sensor): ORP plot
Chart: 

## Slide 12: AIT203 PLOT :Attack on AIT203 for 8 hours
Chart: 

## Slide 13: AIT402(ORP): Attack on AIT203
Chart: 

## Slide 14: AIT202 PLOT: Attack on AIT202 for 8 hours
Chart: 

## Slide 15: Compare the Results from both the methods
Compromised Sensor | Effects on Actuators through SCG | Effects on Actuators by running the system | Impact of the attack | Remarks
FIT201 (Stage 2 attack) | Stage 2:P201,P203,P205 (three Dosing pumps) | Same as SCG | Disturb Chemical Dosing | No
AIT201 (Stage 2 attack) | Stage 2:P201; | Same as SCG | Increase or Decrease Conductivity in Water | No
AIT202 (Stage 2 attack) | Stage 2:P203; Stage 2:P601; | Same as SCG | Increase or Decrease pH level in Water | No
AIT203 (Stage 2 attack) | Stage 5:P205; | Same as SCG | Increase or Decrease ORP(Oxidation Reduction Potential) level in Water | No

## Slide 16: Summary
SCG is used to analyse the impact of the attacks on CPS.